[image: image31.jpg]R R E R EIRAE]

SHENZHEN OGEMRAY TECHNOLOGY CO.,LTD





[image: image32.png]RINHAERFEF—BRIRTUBAK=. 0=
Tel:+86 755 33985009 Fax:+86 755 33687178
4/F, 5Building , Dongwu Industrial Park,Donghuan
1st Road, Longhua District , Shenzhen, China

http://www.ogemray.com





[image: image33.jpg]R R E R EIRAE]

SHENZHEN OGEMRAY TECHNOLOGY CO.,LTD




[image: image37.jpg]




[image: image34.jpg]Wiring Instruction

COM

$1





[image: image35.jpg]S WO

YUV UY WAVAVAVAY )

N

OGEMRAY

1Gang 2-way 25A Smart Relay Switch

@-
Model: SW41

Rated voltage: 100-240V~50/60Hz
Output power: S5500W
-20C to40C





All rights reserved by Ogemray

The content can’t be modified without permission in this document
***Historical Releases***

	Version
	Modified Content
	Writer
	Auditing
	Date
	Department

	
	
	
	
	
	

	V1.0
	the initial version  
	Jasmine
	—
	2025-04-08
	Product dept.

	V1.1
	Release version 
	Jasmine
	—
	2025-04-28
	Product dept.


1. Product Instruction

1.1 Product Overview

[image: image1.png]W02

TS

w7

OGEMRAY

1Gang 2-way 25A Smart Relay Switch
Model: SW41

Rated voltage: 100-240V~50/60Hz
Output power: $5500W

20C t040C

44444




The SW41 is a 1-gang, 25A smart switch that supports both remote and local control. This device can be used to turn on or off some medium - power - consuming electrical appliances.

Once the SW41 is connected to the Internet via WiFi, users can use an app to monitor the power consumption of the connected electrical appliances. In addition, when combined with this app, the switch is equipped with multiple timers, enabling users to customize the control functions according to their specific needs.

1.2 Product Function

Support 2.4GHz Wi-Fi​ connection.
With a patent smart WiFi configuration technology, users can easily establish a WiFi connection in one intelligent step through a specific APP.
Built with 1 gang 25A relay, can be used to turn on/off the power supply to external connected electrical appliances.
Supports local switch control and APP remote control (with WiFi connection) .
Both the real - time power consumption and the power usage of the connected load within a specific time frame can be monitored. 
Various timer settings trough the APP: schedules, the duration to delay off, countdown time and running time can be checked.
Works with Alexa and Google Assistant, users can turn on or off the power supply to the connected load using voice commands.
It can be combined with other smart devices to realize smart scenes and automation control.
Through the APP, the device settings can be shared among users easily and quickly.
It supports multi-users control and group control.

1.3 Works with Alexa and Google assistant

The SW41 smart switch is directly compatible with Amazon Alexa and Google Assistant. Users can turn the connected load on or off via voice commands.

In addition, users can set unique names for each smart switch. When issuing voice commands, they can call each switch by its specific name. To make it more convenient for use. To facilitate usage, users can purchase these intelligent speakers from various markets.
[image: image2.png]=

Amazon Echo Google Home DuerOS Tmall Genie Xiaomi




To voice control the smart switches, we need to complete simple configuration in addition. 
Open Alexa APP,search skill “seetime” , complete account authorization, discover new device.

Open Home APP,search service “seetime”, complete linking account.
2. Specification

2.1 Product Figure

[image: image36.jpg]=N




[image: image37.jpg]SW41 Top View                           SW41 Bottom View 
SW41 Side View 

[image: image3.jpg]‘,;’-—"“\



          [image: image4.jpg]



SW41 Bracket View
[image: image5.jpg]



Cross screw with rubber plug set

2.2 Parameters

	Parameters
	Details

	Connection
	WiFi 2.4GHz

	WiFi chip
	ESP8684H2

	Input voltage
	100-240V AC, 50/60Hz

	Rated average current
	25A

	Output power
	≤5500W

	ON/OFF control
	1 Gang

	Reset
	Housing button

	Blue indicator
	1PCS

	Dimension
	60*48*23.5mm(no bracket included)

60*52*26mm (bracket included)

	APP support
	Support Android6.0 and 

iOS11.0 or above


3. Operation Introduction

3.1 Wiring Instruction

[image: image6.jpg]load

coMm





Terminals Description:
	Identity
	I/O
	Description

	L1
	output
	AC live(Hot) line output terminal, support wires up to 8AWG.

	L
	Input
	AC live(Hot) line input terminal, support wires up to 8AWG.

	N
	Input
	AC neutral line input terminal, support wires up to 8AWG.

	S1
	Input
	Mechanical switch input terminal 1, support wires of 14-20AWG 

	COM
	Input
	Mechanical switch input terminal 2, support wires of 14-20AWG 


Wire strip length: 8mm
3.2 Operation Guide

[image: image7.png]OOU0 U000
(=
- O
2O
Blue indicator
\O)) aaaalllliaaas)

——

!

Reset button





Installation:

Step1: Drill 2 holes(φ6mm, 30mm depth) in the wall by using an electric drill, it is about 27mm between the 2 hole centers.

[image: image8.jpg]



Step2: Hammer the matching rubber plug into the holes.

Step3: Insert the screws into the bracket, then screw the cross screw with bracket into the rubber plug.

[image: image9.png]



Step4: Place the switch into the bracket, ensure it is fastened by the bracket securely.

[image: image10.jpg]



Reset the device
Method 1:

If the smart switch is connected to home appliances, reset device via reset button.

Long press the reset button 5 seconds until the blue indicator flashes quickly.

Method 2: 
If the smart switch is connected to lamp, reset device via lighting switch.

Turn on the lamp, switch off→on→off→on→off→on→off→on→off→on the lamp to reset, that is, keep pressing the light switch for 10 times rapidly and continuously. If the device reset is successful, the light will slow flash twice then keep on.

4. APP Introduction

4.1 APP Download

The APP is compatible with Android 6.0 and iOS11.0 or above system. iOS users search the APP in App Store. Android users search the APP in Google Play.

APP name: “Seetime Smart”

[image: image11.png]Andriod
(App Store) (Google Play)

Seetime Smart




4.2 WiFi Configuration

4.2.1 Add device in Easy Mode

WiFi networking configuration for SW41 is convenient and rapid, mobile could be connected to the designated router quickly, the whole process is generally less than 15 seconds. 
Make sure the wiring of WiFi smart switch is completed and it is powered on.(The smart switch only supports 2.4GHz WiFi router)
Configuration process: 

Step 1.Complete wiring, power on the switch, search in App store/Google Play or scan QR code to install APP, connect mobile phone to 2.4G WiFi.

Step 2. Open “Seetime Smart” APP to click “+” to add device,

 [image: image12.jpg]No device now

= A

Scenes My




 [image: image13.jpg]16:13

E g,_) e g dl(

A\
T\
VaVa

@ O O 6|0

ail 56 €3

Add Device

Qllidi L bUIlp

Smart lighting controller

Smart Plug

Smart Power Strip

Tempering treasure

Switch

Smart gas switch

WiFi Range Extender with Smart
Plug

Lucky light

Low temperature slow cooker

Calafaccion.da-agua caliente




 [image: image14.jpg]16:13 il 56 E3

< Add Device

-I WiFi Smart Switch

E Smart Panel Switch

Tﬂ Smart reset switch





Step 3.Input current WiFi password,click next step.

 [image: image15.jpg]16:14 Q) ol ¥ 63

< Choose home WiFi

Enter your currently connected WiFi password

HUAWEI-0H17M8

II

Next step





Step4. Check device status, and make sure the device has been reset.
Please check if the blue indicator flashes fast. If yes, please confirm and click “Next Step” directly. If not, please reset device.Please check chapter 3.2 Operation Guide to reset device
Confirm and start connection.

[image: image16.jpg]16:14 4 al © 83

< Easy Mode

Product pic represent catagory as reference

Complete wiring, power on the device, confirm
blue indicator is flashing.

How to make blue indicator flash.

The blue indicator is flashing.




 [image: image17.jpg]10:21 (1] ? .

N\

Add Device

36%

distance between Router,phone and Device is not
too far

® Send wifi password to Device

Find the Device

Device initialize




 [image: image18.jpg]— All devices
Unclassified (1) ~ @
-l STswitch_865C |
Local = U
= 2
Home Scenes My





4.2.2 Add device in AP Mode

AP mode is a supplementary configuration way, if you failed configuration in Easy mode, please try AP mode to add device.

Step1. Select “Add device by AP mode” to add device, and confirm the blue indicator is flashing slowly.
[image: image19.jpg]10:14 ol

)

< Add fail

Device addition in Easy Mode has failed!!!

Please check the possible problems as following
steps and try again

1. Ensure that your device has been restored to
the network configuration mode according to the
initial prompt

2.ensure wifi account and password are correct

3.ensure wifi name not include chinese and
character

4.ensure your router is 2.4Ghz

5.In the easy mode configuration fails, you can
try ap mode ap mode higher success rate

Add device by AP mode




 [image: image20.jpg]10:14 4 ol

)

< AP Mode

(1N

The blue indicator is flashing slowly.





Step2. According to page prompt, go to WLAN setting in your smart phone and select the “STswitch_XXXX” for your WIFI, no need to input password,then back to APP.

[image: image21.jpg]10:16 4 ol

)

4 AP Mode

" 1:51 @ 9 98% mm

¢ Setting Wi-Fi
Wi-Fi O
v STswitch_xxxx

Loading...
Air e ()
cfq5g e ()
juytg e = ()
QA7 10,
RND_5G e = ()

Please let your mobile connect to 'STswitch_xxxx' as soon
as possible and return to the current App

@ Do not switch to other Wi-Fi during connection

PY When returning the current APP, please be patient and wait
for the phone to connect to the device hotspot successfu...

0 Current WiFi:  HUAWEI-OH17M8

Connect to device WiFi




 [image: image22.jpg]10:514

< Settings

WLAN

STswitch_865C

Unsecured Network

MY NETWORKS

FAC9

HUAWEI-O0H17M8 a

HUAWEI-0H17M8_5G

Fi5

HUAWEI-OH17M8_Wi-Fi5 8=

Net

RND

llll 5G E

Edit

L 4

WLAN

Connect to WLAN, view available networks, and
manage settings for joining networks and
nearby hotspots. Learn more...

L @
= O

[ >) [ >)
9) 9) 9)
© © ©

HUAWEI-0H17M8_5G_Wi- a = @

®©





Step3. Once you select the “STswitch_XXXX ” and back to app, click [image: image23.bmp]to select WiFi and input password, click “Next Step” to start connection.

[image: image24.jpg]10:27 ol

)

< Choose home WiFi

Enter your home WiFi password

HUAWEI-0H17M8

Next step




 [image: image25.jpg]10:27 ol

)

< Choose home WiFi

Enter your home WiFi password

HUAWEI-0H17M8

HUAWEI-0H17M8 -

TP-LINK_3255

Next step




 [image: image26.jpg]0:27 ol

)

< Choose home WiFi

Enter your home WiFi password

HUAWEI-0H17M8

Next step





Tips: If there is no WiFi around the smart switch, you can select “Direct control” to connect, then the smart plug can be only local controlled by APP, and can’t voice controlled by Alexa/the Google assistant.

Step4. Once devices configured successfully, you will find it in device list.

[image: image27.jpg]‘:28 4 ol ? .

< Try to connect device

22%

Searching Now

Cancel




 [image: image28.jpg]— All devices
Unclassified (1) ~ @
-l STswitch_865C |
Local = U
= 2
Home Scenes My





4.3 APP Control Interface

Click “device list” to enter device control interface.
 [image: image29.jpg]— All devices

Unclassified (1) ~ @

-l STswitch_865C

Local =

= o

Home Scenes My




 [image: image30.jpg]09:54 ol ¥ ED

STswitch_865C oo

Delay Off

Countdown -01:03:59

real time Power

=0

Timing Control Electricity Auto
Record Query Shutdown




 

ON/OFF
Real-time power review
Timing function
Control history view

Power monitoring
Auto shutdown setting
Local/remote control
5. Using environment requirements
5.1 Suitable temperature and humidity range:
Suitable work temperature ：-20℃-+40℃
Suitable storage temperature ：-20℃ -+85℃

Suitable working humidity ：20%-85%(No condensing)
Suitable storage humidity ：20%-85%(No condensing)
Note：In order to maintain the service life of the product and ensure the performance of the product, please use and store this product in strictly accordance with the environmental requirements. 

6. Approval and certification
Smart switch has got the following certification 

	Certification
	Approval
	

	RoHS
	Pass
	

	FCC
	Ongoing
	

	CE
	Ongoing
	


7. Disclaimer 
This specification is a detailed description of series products produced by the company, Please read carefully and fully understand the detailed specification parameters of the product.

All rights reserved by Ogemray, without permission of our company, The company do not allow to totally or partly copy, translate or simplify this specification for any other usage.

We do not provide any guarantees for the product information, parameters, photos or other links in the  specification, users bear the risks.

we declare that this specification or other relevant information without any implied warranties of business assurance or business contract assurance. All information inside is only for operation, product user manual or reference, it can’t be regarded as a basis or complement for any other contract.

We have made reasonable efforts to make this document content accurate and up-to-date.

but our company reserves the right to update or revise the content and its related information at any time without additional notice.

SW41


WiFi Smart Switch(1 Gang)


Product Specification





ITEM： SW41


version：v1.1


date：2025-04-28











[image: image32.png]6 / 14

